SCHOOL OF ENVIRONMENTAL SCIENCES

VERC PROJECT

MAHATMA GANDHI UNIVERSITY

SES/MGU/VERC/F-79/E-LAF/2018  					Date:02.02.2018

QUOTATION NOTICE

Sealed quotations in original are invited for the supply of following item. The cover containing the quotations should be superscribed “Quotations for the supply of “Laminar Air Flow Chamber” and the same should be addressed to TheDirector, VERC project, School of Environmental Sciences, M.G. University, P.D Hills, Kottayam – 686 560.Last date for receipt of sealed quotations: 3 pm on 15/02/2018. The quotation will be opened on the same day at 3.30pm.

| - Sl. No. | - Item | - Specification |  |
| --- | --- | --- | --- |
|  | Vertical Laminar Air Flow Chamber | - Dimension (WxDxH) | - 3 ft x 2 ft x 2 ft |
|  |  | - Air flow | - Vertical |
|  |  | - Cleanliness | Class 100 |
|  |  | - Particle retention | 0.3 microns and above. |
|  |  | - working table | - Stainless steel |
|  |  | - Sides of the cabinet | - Poly carbonate transparent sheet |
|  |  | - Light sources | - Both U.V. germicidal and fluorescent light |
|  |  | - Pre-filter & HEPA filter | - Quality compliance to FED: STD: 209 and EN 779 |
|  |  | - Pressure manometer | - Inclined pressure manometer |

Terms and Conditions

1.	The cost of items should include all taxes.

2.   The University will not be responsible for postal delay or loss in transit.

3.	The undersigned reserves every right to reject or accept any or all quotations without assigning any reason, thereof.

4.	The quotation should reach the office of School of Environmental Sciences with all details before 3 pm on 15/02/2018 and will be opened at 3.30 p.m. on 15/02/2018.

5.	The quotation may be sent to the Director, VERC Project, School of Environmental Sciences, Mahatma Gandhi University, Priyadarshini Hills P.O.,  Kottayam – 686 560

6.  The quotations without observing the above specifications, terms and conditions will be rejected.

Sd/-

Director