Kerala State Plan Fund Project

School of Biosciences

# Mahatma Gandhi University

PD Hills (PO)

KOTTAYAm – 686560.

Website :mgu.ac.in

-

TENDER NOTICE (TWO BID SYSTEM)

TENDER NOTICE No: KPF/SBS/Tender/2/2019 dated 02/03/2019

Separate sealed tenders are invited from reputed firms and their authorized dealers to supply following “Laboratory Equipments” to the School of Biosciences, Mahatma Gandhi University, Priyadarshini Hills P.O, Kottayam under the Kerala State Plan Fund Project.

Equipments:-

    - Rotary Evaporator

Blank Tender Forms for the above items along with details can be downloaded from www.mgu.ac.in.  Completed tenders along with Tender fee (by way of Demand draft in favour of Principal Investigator, Kerala State Plan Fund Project, School of Biosciences, Mahatma Gandhi University, Kottayam-686560, Kerala. S.B A/c No: 38101003788payable at SBI Mahatma Gandhi University campus) and GST payment should be submitted along with technical bid to the Principal Investigator, Kerala State Plan Fund Project, School of Biosciences, Mahatma Gandhi University, Kottayam-686560, Kerala. Only those tenders having paid GST payment will be considered for further processing.

Last date for submission of completed Tenders	: 18thMarch, 2019

Closing of acceptance of completed Tenders	: 18thMarch, 2019; 05:00 P.M

Date of opening of Technical Bid			: 19thMarch, 2019; 11:00 A.M

Date of opening of Financial Bid			: 19thMarch, 2019; 02:00 P.M

P.D.Hills								Principal Investigator

Kerala State Plan Fund Project

02-03-2019								School of Biosciences

CONTENTS

ANNEXURE I		: ELIGIBILITY CRITERIA GENERAL TERMS AND CONDITIONS

ANNEXURE II		: TENDER FORM (PART I – TECHNICAL BID)

ANNEXURE III		: TENDER FORM (PART II – FINANCIAL BID)

ANNEXURE IV		: TECHNICAL SPECIFICATION AND TECHNICAL COMPLIANCE SHEET

FOR EQUIPMENT: ROTARY EVAPORATOR

ANNEXURE V		: CERTIFICATE FROM THE VENDOR STATING THAT THE

COMPANY HAS NOT BEEN BLACKLISTED BY ANY GOVERNMENT

ORGANISATION

ANNEXURE VI		: MANUFACTURER’S AUTHORIZATION FORM (MAF)

ANNEXURE VII		: EARNEST MONEY DEPOSIT BANK GUARANTEE

ANNEXURE VIII	: CHECK LIST

ANNEXURE I: ELIGIBILITY CRITERIA GENERAL TERMS & CONDITIONS:

Separate sealed tenders (for each item) are invited from reputed firms and their authorized dealers to supply following “Laboratory Equipments” to the School of Biosciences, Mahatma Gandhi University Priyadarshini Hills P.O, Kottayam under the Kerala State Plan Fund Project.

Equipments:-

- Rotary Evaporator

1. GENERAL TERMS & CONDITIONS:

- Separate tender along with separate tender fee, separate EMD and separate sets of all other necessary documents should be submitted for each instrument. The main envelope should be superscribed: TENDER FOR SUPPLY OF ………………. (ENTER NAME OF EQUIPMENT). Last date of submission is 18thMarch 2019 and Date of Opening of Technical Bid: 19thMarch 2019, 11:00 A.M. at School of Biosciences, Mahatma Gandhi University, Kottayam.

- For those bidders submitting tenders for more than one instrument, separate applications for each instrument (Technical Bid and Financial Bid separately) must be placed in individual sealed envelopes and these envelopes must be placed inside a bigger envelope. Only one model can be quoted in a tender if the tenderer wants to quote for more than one model separate tenders with tender fee and EMD as required should be submitted. If more than one model is quoted in a single tender it will be summarily rejected.

- The tender must be accompanied with nonrefundable application fee of Rs. 1000/- with the GST

- Tenders must accompany a copy of the “Eligibility Criteria and General Terms and Conditions” section of this document, signed and stamped on each page indicating that they agree to these.

- Last date of submission of tender along with requisite fee, EMD and all documents is 18thMarch 2019.

- The DDs for application fee and EMD or any other must be drawn in of favour of the Principal Investigator, Kerala State Plan Fund Project, School of Biosciences, Mahatma Gandhi University, Kottayam-686560, A/c No: 38101003788, payable at SBI Mahatma Gandhi University campus branch.

- The date of tender opening will be as per the following:

  - Date of opening of Technical Bid: 19thMarch 2019, 11:00 A.M. at School of Biosciences, Mahatma Gandhi University, Kottayam.

b.Date of opening of Financial Bid: 19thMarch 2019, 02:00 P.M. at School of    Biosciences, Mahatma

Gandhi University, Kottayam.

- Electronic submission of documents (by facsimile, email and so on) is not acceptable.

- If the last date of submission is declared holiday in Mahatma Gandhi University, Kottayam (in exceptional cases), the date of submission and tender opening will be next working days, respectively.

- Validity of tenders shall be 3 months from the last date of submission of the tenders.

- The amount quoted should be in Indian rupees

Bidder’s name, signature and seal:

- Place of delivery of the completed tender is Principal Investigator, Kerala State Plan Fund Project, School of Biosciences, Mahatma Gandhi University, Kottayam.

- The Principal Investigator, Kerala State Plan Fund Project, School of Biosciences, Mahatma Gandhi University, Kottayam reserves the right to accept/reject any or all the tenders at any time without assigning any reason.

- The tenders received late, without tender fee, without earnest money, without required documents or incomplete in any respect / Misleading will out rightly be rejected.

- Other terms & conditions specific for different instruments must be complied with tender form.

- Financial bid and Technical compliance sheet for each instrument should be strictly as per tender format, and signed on each page.

- If the supplier/firm is manufacturer/authorized dealer/sole distributor of any item, the certificate to this effect should be attached.

- Availability of Spares: The tenderer must give certificate duly signed and stamped by manufacturer for the availability of spares and servicing of instrument for at least 10 years. Supplier should give an undertaking that spares/parts will be supplied within the specified periods as and when ordered.

- Apart from all these terms and conditions, specific terms as specified for each instrument must also be complied.

- Original catalogue (Do not put photocopies) as support documents for Specifications should be enclosed for verification. In case such documents are not submitted the statements of the tenderer in regards to specification of equipments will not be accepted and will be rejected.

- There should be 36 months of warranty for instrument as well as accessories from the date of installation and no cost will be paid for service /repair/spares during warranty period.

- If instrument is imported one certificate indicating the country of origin should be mentioned and in other cases certificate stating the supply of instruments to at least five national institutions should be submitted.

- The amount cited in the financial bid should be final amount and should include all the expenses for transportation of instrument to the lab of PI, installation and commissioning of the equipment. No further amount will be paid to manage these responsibilities.

2. PREPARATION OF TENDER:

- The tender no. (mentioned on top), name of item and due date should invariably be superscripted on the envelope cover.

- The proposals shall be submitted in two parts, viz. Technical bid and Financial bid in two separate sealed envelopes (with respective marking superscripted in bold).

- The first envelope (envelope 1) marked “Technical bid” should include the technical specifications of only one model. The first envelope should not contain any cost information whatsoever.

- The second envelope (envelope 2) marked “Financial bid” should contain the detailed price offer in prescribed format (inclusive of tax if any).

Bidder’s name, signature and seal:

- Prices are to be quoted F.O.R DESTINATION (Room assigned for Kerala State Plan Fund Project at School of Biosciences, MG University).The prices quoted should clearly indicate the following charges: Price of the equipment including accessories; Customs duty (after submission of custom and excise exemption certificate if applicable); Customs Clearance Charges and transportation charges if applicable. If these details are not provided it will be considered that the price quoted is inclusive of all charges.

- Both the sealed envelopes Technical bid and Financial bid should be placed in a bigger sealed cover. The top of cover must also contain Name and Address of the tenderer, telephone number and other contact details for further correspondence.

- Only those tenders competing in technical evaluation will be considered for financial evaluations. The price envelopes of others will not be considered. At second stage, financial bids of only technically acceptable offers will be opened for further evaluation and ranking before awarding the contract.

- The financial proposal shall be opened in the presence of the tenderers or their representative who choose to attend. The prior information in this regard will be given to the qualified tenderers.

- The printed literature and catalogue/brochure giving full technical details should be included with the technical bid to verify the specifications quoted in the tender.

3. DELIVERY OF TENDER

- All tender documents should be addressed to the Principal Investigator, Kerala State Plan Fund Project, School of Biosciences, Mahatma Gandhi University, Kottayam - 686 560, Kerala, India.

- Tenders duly sealed and sent only by registered post/courier will be considered. No tender delivered by hand/electronically will be accepted.

- No responsibility with regard to postal delays due to any reason whatsoever will be accepted.

4. OPENING OF TENDERS

- Unless otherwise preponed, or postponed with advance intimation to the tenderers, tender will be opened in two stages at School of Biosciences, Mahatma Gandhi University, Priyadarshini Hills P.O, Kottayam – 686 560, Kerala, India on the date and time indicated in first page of the instruction sheet of this tender document.

- TENDER FORM PART-I (TECHNICAL BID) of the tender will be opened at the first stage on the due date and at time indicated for opening in the instruction sheet of this tender document while the TENDER FORM PART-II (FINANCIAL BID) will be opened at the second stage on the due date and time indicated for opening in the instruction sheet of this tender document after completion of the evaluation of the Technical part (Part-I) of the tender.

- While all the tenderers who submit tenders within the due date and time specified for its receipt will be permitted to participate in the opening of PART-I (TECHNICAL BID) of the tender on the due date and time indicated in the instruction sheet of this tender document, opening of the PART-II (FINANCIAL BID) of the tender can be attended to only by such of those tenderers whose tenders are found to be technically suitable/acceptable to the technical committee and to whom intimation thereof is given by the Purchaser by Fax/Telegram/Letter/e-mail/phone etc

Bidder’s name, signature and seal:

- The tenderers whose TECHNICAL BID (Part-I) are found suitable/acceptable by the technical committee, will be given advance intimation by the Purchase committee to enable such tenderers to depute their representative to participate in the opening of the FINANCIAL BID (Part-II) of the tender. The technically unqualified tenderers will neither be given any intimation about the due date and time for opening FINANCIAL BID (Part-II) of the tender nor will they be permitted to participate in the opening of the same. FINANCIAL BID (Part-II) of the technically disqualified tenderers will not be opened.

- The tenderers who wish to participate in the opening of the tenders may depute their representatives to the School of Biosciences, Mahatma Gandhi University, Priyadarshini Hills P.O, Kottayam – 686 560, Kerala, India on the respective due date, time as indicated in the instruction sheet of this tender document with an authority letter addressed to the Principal Investigator, Kerala State Plan Fund Project, School of Biosciences, Mahatma Gandhi University, Kottayam – 686 560, Kerala, India which should be produced to the officers who are opening the tenders, on demand, to prove the bonafides of the representatives who participate in the opening of the tender. In case the representative of the tenderer fails to produce such an authority letter on behalf of the tenderer, he will be debarred from participating in the opening of the tenders.

- The tenderer’s representative, who reaches the venue of the tender opening late, i.e. after the starting time specified for opening of the tenders, will not be allowed to take part in the tender opening. It should be noted that only one representative of each tenderer will be permitted to participate in the tender opening.

5. EVALUATION OF BIDS RECEIVED:

- The technical and purchase committee of Kerala State Plan Fund Project has the full right to evaluate, segregate, rank the responsive bids and select the successful bidder for placement of the contract. Any decision by the technical and purchase committee in this regard will be final.

- No legally enforceable right is vested in the quoted party merely because it was ostensibly the lowest bidder

6. BID SECURITY

- Earnest money of 2.5 percent of the estimated value will be taken from the prospective bidders in case of limited/advertised tender in the form of Account payee Demand Draft, Bankers cheque or a Bank Guarantee from a commercial bank. Suppliers registered with Director General of Supplies & Disposals (DGS&D), National Small Industries Corporation (NSIC), Govt. approved sources are exempted. Tender without EMD will be considered unresponsive and rejected.

Bidder’s name, signature and seal:

7. PERFORMANCE SECURITY

- For contracts above value of Rs.1.00 lakh, performance security of 10 percent of the value of contract is to be obtained from the successful bidder, awarded the contract, in the form of Bank Guarantee or Fixed Deposit (with a lien to the Principal Investigator, Kerala State Plan Fund Project, School of Biosciences, Mahatma Gandhi University, Kottayam) from a commercial bank which should be valid for a period of 60 days beyond the completion of all contractual obligations of the supplier including warranty. Performance security will be forfeited and credited to the Institute in the event of breach of contractual obligation by the supplier, in terms of relevant contract

- Bid Security will be refunded to the successful bidder on receipt of performance security. The institute/ Principal Investigator will pay no interest for the deposit.

8. DELIVERY, INSTALLATION AND WORK COMPLETION

- The delivery of the material will be made within stipulated time period as given in the supply/work award letter otherwise will attract penalty. In case of imported item, the supplier/their Indian Agent will be responsible for delivery of the material from the place of discharge of material to final point (School of Biosciences, Mahatma Gandhi University Campus, Priyadarshini Hills PO, Athirampuzha, Kottayam).

9. PRICE AND DELIVERY

- Prices are to be quoted F.O.R DESTINATION (to the room assigned for Kerala State Plan Fund Project at School of Biosciences, MG University).The prices quoted should clearly indicate the following charges: Price of the equipment including accessories; Customs duty (after submission of custom and excise exemption certificate if applicable); Customs Clearance Charges and transportation charges if applicable. If these details are not provided it will be considered that the price quoted is inclusive of all charges.

- The prices quoted must be FIRM and preference will be given to such tenders. In exceptional cases (e.g. items involving substantial use of raw materials susceptible to sharp fluctuation in prices) if prices are quoted subject to variation it shall be on the basis of a standard Price Variation Formula. The basis for calculation shall be very clearly stated. Here again preference will be given to the tenders with a specific ceiling on escalation.

- All other charges including GST, Excise Duty and other levies payable by F.O.R DESTINATION (Room assigned for Kerala State Plan Fund Project at school of Biosciences, MG University) should be clearly indicated otherwise it will be presumed that the rates quoted are inclusive of all these charges and will not be paid.

- Essentiality certificate will also be provided to selected tenderes so the price can be quoted at reduced GST rate as per government guidelines.

- The Excise Duty component (with percentage) should be indicated, as the University is exempted from the payment of Custom/Excise Duty. Exemption will be availed by providing Custom/Excise Duty Exemption Certificate with order.

- The Delivery Schedule, Payment Terms & Warranty/Guarantee etc must be clearly indicated in the technical bid. The charges for extended warranty and/or Annual Maintenance Contract after the expiry of offered warranty period should also be specified in the financial bid.

- The manufacturers’ original printed (not photocopied) literature/catalogue/drawing/user’s list in respect of range of product being quoted should also be submitted with the offer.

Bidder’s name, signature and seal:

- In case the rates are being offered by the dealer/stockiest, a certificate from the manufacturer in original about the authorization of dealership/stockiest-ship and to quote rates on their behalf be furnished with the offer along with a certificate from the manufacturer that for the material supplied through the authorized dealer/stockiest, they will be responsible for its quality and guarantee/warranty.

- The supply of items of approved specifications shall have to be made strictly as per given delivery schedule on placement of order, failing which the material will be rejected and returned at the expenses of the supplier.

- The firms shall be required to arrange demonstration of the offered item if required by the University.

10. PAYMENT

- Payment of the instrument purchased will be from the fund sanctioned for Kerala State Plan Fund Project 2018-2019 titled “ Exploring the indigenous microbiome of Kerala for natural and organic agricultural practices- an approach to green Kerala July 2018”

      - The payment will be made from University as per the procedure for making payment for the equipments purchased under Kerala State Plan Fund Project 2018-2019

11. WARRANTY

i. Warranty for the instrument as well as accessories will be for 3 years (36 months) from the date of installation and no cost will be paid for service /repair/spares during warranty period. Any defective goods supplied should be replaced or repaired by the supplier free of charge. Delivery of goods and it’s installation at School of Biosciences, Mahatma Gandhi University, Kottayam during part repair/replacement should be free of charge during the period of warranty. A warranty certificate declaring these points must be supplied with the technical bid.

12. MAINTENANCE CONTRACT

The instrument or machinery is to be maintained free of charge by the supplier during warranty period (3 years) or such other extended periods as the contract terms may provide and the paid maintenance should commence only thereafter. If the supplier fails to deliver the goods and / or perform the services within the contractual delivery period for reasons other than circumstances beyond supplier’s control (which will be determined by the purchaser) and the purchaser extends the delivery period, the purchaser will also deduct from the contract price, as liquidated damages, a sum equivalent to 0.5% (half percent) of the delivered, being the price of the delayed goods or unperformed services for each week of delay or part thereof until actual delivery or performance. The maximum limit of such deduction will, however, be 10% (ten percent) of the contract price of the delayed goods or services.

13. SALES TAX REGISTRATION CERTIFICATE

- Tender applications must be accompanied by duly attested Photostat copy of the sales tax declaration to the effect that the firm is registered under the Sales Tax Department.

Bidder’s name, signature and seal:

14. INCOME TAX

- Photostat copy of the latest income tax clearance certificate and a copy of PAN should be provided.

15. CUSTOM DUTY & EXCISE DUTY EXEMPTION

- Our Institute is registered with the Department of Scientific & Industrial Research (DSIR) for purposes of availing customs duty exemption. The certificates will be made available in those cases where it is required.

16. INSURANCE

- The goods supplied shall be fully insured in Indian rupees against loss or damage incidental to manufacture or acquisition, transportation, storage and delivery. The insurance shall be valid for a period of not less than 3 months after installation and commissioning.

Bidder’s name, signature and seal:

ANNEXURE II: TENDER FORM PART-I (TECHNICAL BID)

PART-I (TECHNICAL BID) OF TENDER NO: KPF/SBS/Tender/2/2019 dated 02/03/2019

Last date for receipt: 18thMarch, 2019; 05:00 P.M

Due date for opening Part –I (TECHNICAL BID): 19thMarch, 2019; 11:00 A.M

Tenderer’s Offer No:

Date:

From,

M/s. ………………………………………………………………

………………………………………………………………………

………………………………………………………………………

To,

The Principal Investigator,

Kerala State Plan Fund Project,

School of Biosciences,

Mahatma Gandhi University, Kottayam

Dear Sir,

I/We have gone through the tendering conditions pertaining to the Two-Part Tender and General Conditions of Contract and Special Conditions of Contracts contained herein with this tender document. I/we hereby agree to supply the stores conforming to the tender specifications incorporated in ANNEXURE IV of the tender document and also agree to abide by your General Conditions of all Contracts and Special Conditions of Contract contained in the ANNEXURE I of the Tender document.

You will be at liberty to accept any or more of the items of stores offered by us and I/we shall be bound to supply you the stores as may be specified in the Purchase Order/Contract.

I/We hereby agree to keep the price valid for your acceptance for a period of 90 days from the date of opening of Part-II (Financial bid) of the tender

Deviations to Technical specifications contained in ANNEXURE IV of the tender documents are detailed in ANNEXURE-A to the tender form while deviations proposed to the General Special Conditions of Contract contained in ANNEXURE I  are detailed in Annexure-B to this tender. Price applicable for the stores are indicated separately in a sealed envelope marked as financial bid of the tender.

I/We are also enclosing herewith all the leaflets catalogue etc. pertaining to the stores offered.

Thanking you,

Yours faithfully,

Stamp and Signature of the Tenderer

ANNEXURE III: TENDER FORM PART-II (FINANCIAL BID)

PART-II (FINANCIAL BID) OF TENDER NO: KPF/SBS/Tender/2/2019 dated 02/03/2019

Last date for receipt: 18thMarch, 2019; 05:00 P.M

Due date for opening Part –II (FINANCIAL BID): 19thMarch, 2019; 02:00 P.M

Tenderer’s Offer No:

Date:

From,

M/s. ………………………………………………………………

………………………………………………………………………

………………………………………………………………………

To,

The Principal Investigator,

Kerala State Plan Fund Project,

School of Biosciences,

Mahatma Gandhi University, Kottayam

Dear Sir,

In response to your invitation and as per your tendering and contracting conditions, the prices applicable for the scope of supply contained in Part-I (TECHNICAL BID) of our tender are indicated in the format at annexure “A” to this tender.

We hereby agree to keep the price valid for your acceptance for a period of 90 days from the date of actual opening of Part-II (FINANCIAL BID) of the tender.

Thanking you,

Yours faithfully,

Stamp and Signature of the Tenderer

ANNEXURE IV: TECHNICAL SPECIFICATION AND TECHNICAL COMPLIANCE SHEET FOR EQUIPMENTS: ROTARY EVAPORATOR

| Specifications | Quantity | Complies/Not Complies (Do not write “as per quotation”) |
| --- | --- | --- |
| Rotary Evaporator - Operating Voltage / Frequency: 220-240 V, 50 Hz - Heating Power Consumption: 1300 W - Digital display for set and actual bath temperature and rotation - Rotation Speed 20-280rpm - Separate ON/OFF switch for heating bath and rotation. - Universal heating bath for oil & water ambient to 210°C and the accuracy of ± 1°C - Bath volume should be more than 4Litres. - Heating bath metal base support to avoid instability. - The system should accommodate 50 ml to 5000 ml with single Joint size. - Clamping sleeve for prevention from breakage - Protection Class IP 67 to protect from short-circuits and corrosion. - Grease free PTFE valves for vacuum release, solvent feeding and avoid glass breakage. - Condenser clamp should be supplied with system for higher safety - Detachable panel to control all parameters from outside closed fume hood and safeguard all electronic components. - Condenser surface area 1400cm2 - CE certification Vacuum Pump - Two stage chemical resistance diaphragm pump - Ultimate vacuum 12mbar - Power Input: 80W - System should be supplied with manual vacuum controller Recirculation Chiller - Operating Temperature Range: -20°to +20°C - Coolant Volume: 5 Ltrs - Cooling Capacity : 500 Watts - Digital display for set and actual temperature - Space saving design which can be placed beside evaporator. - Tubings for Vacuum and Water connections to be provided - Optional : Suitable UPS - Rotary evaporator with better specifications will also be considered. - Warranty – 3 years | 01 |  |

Bidder’s name, signature and seal:

ANNEXUREV:CERTIFICATEFROMTHEVENDORSTATINGTHATTHECOMPANYHASNOTBEENBLACKLISTEDBYANYGOVERNMENTORGANISATION

To,

ThePrincipal Investigator,

Kerala State Plan Fund Project,

SchoolofBiosciences

MahatmaGandhiUniversity,

PriyadarshiniHillsP.O

Kottayam-686560

Kerala,India

# DearSir,

ThisistocertifythatM/s	hasnotbeenblacklistedbyanyGovernmentOrganizationatthetimeofsubmissionofthetenderdocumentorbefore.

# Yoursfaithfully,

AuthorizedSignatories(Name&Designation)

Date:

ForandonbehalfofM/s

## (Note:This letterof authorityshould be onthe Letter-Headofthe manufacturingConcernandshouldbesignedbyacompetentpersonofthemanufacturer.)

Bidder’sname,signatureandseal:

ANNEXUREVI:MANUFACTURER’SAUTHORIZATIONFORM(MAF)

To,

ThePrincipal Investigator,

Kerala State Plan Fund Project,

SchoolofBiosciences

MahatmaGandhiUniversity,

PriyadarshiniHillsP.O

Kottayam-686560

Kerala,India

DearSir,

TenderReference

We				manufacturers	of

who	are		established	and	reputabledo		hereby	authorize	M/s

(NameandaddressofAgent/Dealer)tooffertheirquotation,negotiateandconcludethecontractwithyouagainsttheaboveinvitationfortenderoffer.

Weherebyextendourfullguaranteeandwarrantyaspertermsandconditionsofthetenderandthecontractfortheequipmentandservicesofferedagainstthisinvitationfortenderofferbytheabovefirm.

Yoursfaithfully,AuthorizedSignatories(Name&Designation)Date:

ForandonbehalfofM/s	(Nameofmanufactures)

(Note:ThisletterofauthorityshouldbeontheLetter-Headofthemanufacturingconcernandshouldbesignedbyacompetentpersonofthemanufacturer)

## Bidder’sname,signatureandseal:

ANNEXUREVII:EARNESTMONEYDEPOSITBANKGUARANTEE

To

ThePrincipal Investigator,

Kerala State Plan Fund Project,

SchoolofBiosciences

MahatmaGandhiUniversity,

PriyadarshiniHillsP.O

Kottayam-686560

Kerala,India

# DearSir,

Supply& Installationof ---------------------------------

WHEREAS

ThePrincipal Investigator,Kerala State Plan Fund Project (hereinaftercalledthePurchaser)hasinvitedtendersfortheSupply&Installationof……………………….. (Name of item)underKerala State Plan Fund Project inSchoolofBiosciences,MahatmaGandhiUniversityPriyadarshiniHillsP.O,Kottayamonthetermsandconditionsmentionedinthetenderdocument.

- ItisoneofthetermsofinvitationoftendersthatthetenderershallfurnishaBankGuaranteeasdetailedinthetenderdocumentClause6asEarnestMoneyDeposit.

- M/s	,(hereinaftercalledasTenderer),whoareourconstituentsintendtosubmittheirtenderforthesaidequipmentsandhaverequestedustofurnishguaranteetothe‘Principal Investigator,Kerala State Plan Fund Project’inrespectofthesaidsumofRs.------------/(Rupees-----------only)

## NOWTHISGUARANTEEWITNESSETH

- We	(NAMEOFTHEBANK)doherebyagreewithandundertaketothePrincipal Investigator,Kerala State Plan Fund Project,theirSuccessors,AssignsthatintheeventofthePrincipal Investigator,Kerala State Plan Fund Project comingtotheconclusionthattheTendererhavenotperformedtheirobligationsunderthesaidconditionsofthetenderorhavecommittedabreachthereof,whichconclusionshallbebindingonusaswellasthesaidTenderer,weshallondemandbythePrincipal Investigator,Kerala State Plan Fund Project,paywithoutdemurtothePrincipal Investigator,Kerala State Plan Fund Project,asumofRs.---------------/(Rupees--------------only)oranyloweramountthatmaybedemandedbythePrincipal Investigator,Kerala State Plan Fund Project.OurguaranteeshallbetreatedasequivalenttotheEarnestMoneyDepositforthedueperformanceoftheobligationsoftheTendererunderthesaidConditions,provided,however,thatourliabilityagainstsuchsumshallnotexceedthesumofRs.------------/(Rupees----------only).

## IV.     Bidder’sname,signatureandseal:

- WealsoagreetoundertaketoandconfirmthatthesumnotexceedingRs.--------------

/ (Rupees------------only)asaforesaidshallbepaidbyuswithoutanydemurorprotest,merelyondemandfromthePrincipal Investigator,Kerala State Plan Fund Project onreceiptofanoticeinwritingstatingtheamountisduetothemandweshallnotaskforanyfurtherprooforevidenceandthenoticefromthePrincipal Investigator,Kerala State Plan Fund Project shall be conclusiveandbindingonusandshallnotbe questionedbyusinanyrespector mannerwhatsoever.

WeundertaketopaytheamountclaimedbythePrincipal Investigator,Kerala State Plan Fund Project withinaperiodofoneweekfromthedateofreceiptofthenoticeasaforesaid.

- WeconfirmthatourobligationtothePrincipal Investigator,Kerala State Plan Fund ProjectunderthisguaranteeshallbeindependentoftheagreementoragreementsorotherunderstandingsbetweenthePrincipal Investigator,Kerala State Plan Fund Project andtheTenderer.

ThisguaranteeshallnotberevokedbyuswithoutpriorconsentinwritingofthePrincipal Investigator,Kerala State Plan Fund Project.

## Weherebyfurtheragreethat

  - AnyforbearanceorcommissiononthepartofthePrincipal Investigator,Kerala State Plan Fund Project inenforcingtheconditionsofthesaidagreementorincompliancewithanyofthetermsandconditionsstipulatedinthesaidtenderand/orhereunderorgrantingofanytimeorshowingofanyindulgencebythePrincipal Investigator,Kerala State Plan Fund Project totheTendereroranyothermattersinconnectiontherewithshallnotdischargeusinanywayourobligationunderthisguarantee.Thisguaranteeshallbe dischargedonlybythe performancebytheTenderersoftheirobligationsandintheeventoftheirfailuretodoso,bypaymentbyusofthesumnotexceedingRs.--------------(Rupees--------------only)

  - OurliabilityunderthesepresentsshallnotexceedthesumofRs.----------------(Rupees

---------------only)

  - Ourliabilityunderthisagreementshallnotbeaffectedbyanyinfirmityorirregularityonthepartofoursaidconstituentsintenderingforthesaidworkortheirobligationsthereunderorbydissolutionorchangeintheconstitutionofoursaidconstituents.

  - Thisguaranteeshallremaininforceupto…………………providedthatifsodesiredbythe Principal Investigator,Kerala State Plan Fund Project, thisguarantee shall berenewedforafurtherperiodasmaybeindicatedbythemonthesametermsandconditionsascontainedherein.

## VI.     Bidder’sname,signatureandseal:

  - Ourliabilityunderthispresentswillterminateunlessthesepresentsarerenewedasprovidedhereinaboveonthe…………………………..oronthedaywhenoursaidconstituentscomplywiththeirobligations,astowhichacertificateinwritingbythePrincipal Investigator,Kerala State Plan Fund Project aloneistheconclusiveproofwhicheverdateislater.Unlessaclaim orsuitoractionis filedagainst uswithinsixmonthsfromthatdateoranyextendedperiod,alltherightsofthePrincipal Investigator,Kerala State Plan Fund Project againstusunderthisguaranteeshallbeforfeitedandweshallbereleasedanddischargedfromallourobligationsandliabilitieshereunder.

Yours’faithfully,

Forand on behalfof	BankAuthorizedofficial

(Note:Thisguaranteewillrequirestampdutyasapplicableandshallbesignedbytheofficialwhosesignatureandauthorityshallbeverified).

## Bidder’sname,signatureandseal:

ANNEXURE VIII: CHECK LIST (TO BE FILLED COMPLETELY & PLACED ALONGWITH TECHNICAL BID)

| Sl No | Points to be verified | Yes/No |
| --- | --- | --- |
| 1 | Technical specification compliance sheet |  |
| 2 | Tender fee |  |
| 3 | GST payment |  |
| 4 | EMD |  |
| 5 | Photocopy of PAN and TAN card |  |
| 6 | User list and certificates issued by clients |  |
| 7 | Copy of income tax return certificate |  |
| 8 | All other certificates as asked in tender document a) Spare part availability certificate b) Certificate indicating country of manufacture c) Sales tax registration certificate d) Copy of “Eligibility Criteria and General Terms and Conditions” signed and stamped on each page e) Certificate from the vendor stating that the company has not been blacklisted by any government organisation f)Manufacturer’s authorization form (MAF) g)Earnest Money Deposit bank guarantee agreement |  |

Bidder’s name, signature and seal:

Place: 								                     Signature of Authorized Person

Date:									                         Designation

Seal